## ICM Controls_Master Cross Refs_
OEM | OEM Part # | ICM Replacement Part # | Control Type
5.2.1 | CSR-U1 | ICM866U | Motor Starters/Rapid Start
5.2.1 | CSR-U2/U3 | ICM866U | Motor Starters/Rapid Start
A-1 | EAC-501-ADJ | ICM203 | Delay On Break Timers
A-1 | 7061 | ICM103 | Delay On Make Timers
A-1 | 5893 | ICM255 | Fan Blower Controls
A-1 | EAC-401, 402, 403, 404 | ICM491, ICM492, ICM493 | Line Voltage Monitors
A-1 | EAC-800, EAC-8000, EAC-8002 | ICM450A, ICM450A PLUS+ | Line Voltage Monitors
A-1 | WSX-5 | ICM855 | Motor Starters/Rapid Start
A-1 | WSX-6 | ICM856 | Motor Starters/Rapid Start
A-1 | EAC-701-ADJ | ICM102 | Delay On Make Timers
ABB | OVRHLDxx-120 | ICM530 | Surge Protective Device
ABB | OVRHLDXX-277 | ICM531 | Surge Protective Device
ACT | FM4000 | ICM326HN | Head Pressure Controls
ACT | FM2000 | ICM325HN | Head Pressure Controls
ACT | FM4000 | ICM327HN | Head Pressure Controls
Amana | C64301-1, C64310-1 | ICM300 | Defrost Controls
Arcoaire | 32312-00, 3232140 | ICM300 | Defrost Controls
Artesian | 10321-00 | ICM300 | Defrost Controls
ASCO | 420120S | ICM518 | Split Phase Surge Protective Device
ASCO | 420120Y, 420240D | ICM530 | Surge Protective Device
ASCO | 420240H | ICM533 | Surge Protective Device
ASCO | 420277Y, 420480D | ICM531 | Surge Protective Device
ASCO | 420347Y, 420600D | ICM532 | Surge Protective Device
Avion | DFT100 | ICM315 | Defrost Controls
Bard | 8201-056 | ICM255 | Fan Blower Controls
Bristol | 241680 | ICM441 | Line Voltage Monitors
Carlin | 48245 | ICM1503 | Oil Burner Primary Control
Carrie | 325878-751 | ICM282B | Furnace/Ignition Control Boards
Carrier | CES0110063-00, CES0110063-01, CES0110063-02, CES0110063-02A | ICM321 | Defrost Controls
Carrier | HK32EA001, EA003, EA008 | ICM350 | Defrost Controls
Carrier | 302075-3, CES0110017, CES0110018 | ICM271 | Fan Blower Controls
Carrier | CES0110019 | ICM275 | Fan Blower Controls
Carrier | HH84AA001, HH84AA003, HH84AA005, HH84AA009, HH84AA014, HH84AA015, HH84AA021 | ICM275 | Fan Blower Controls
Carrier | HH84AA010, HH84AA011, HH84AA012, HH84AA013, HH84AA020, P771-7002 | ICM271 | Fan Blower Controls
Carrier | CES0110057-00, CES0110057-01, CES0110057-00 | ICM281 | Furnace/Ignition Control Boards
Carrier | CES0110020, CES0110048 | ICM281 | Furnace/Ignition Control Boards
Carrier | CES0110074-01 | ICM2804 | Furnace/Ignition Control Boards
Carrier | HK42FZ017 | ICM2807 | Furnace/Ignition Control Boards
Carrier | HK42FZ-004, HK42FZ-007, HK42FZ-008, HK42FZ-009, HK42FZ-011, HK42FZ-013, HK42FZ-016, HK42FZ-34 | ICM282B | Furnace/Ignition Control Boards
Carrier | HH84AA016 | ICM281 | Furnace/Ignition Control Boards
Carrier | LH33WP003/3A | ICM291 | Furnace/Ignition Control Boards
Carrier | HK42FZ004, HK42FZ007, HK42FZ008, HK42FZ009, HK42FZ011, HK42FZ016 | ICM2812-KIT | Furnace/Ignition Control Boards (Universal)
Coleman | 3030A374 | ICM300 | Defrost Controls
Coleman/Evcon/Lennox/Luxaire/York | G951ADB-1401(C), G951ADB1402, G951ADB-1403, G951AEB-1403, 265901, 265902, 539617, 52537074000, 52537077000, 031-00662, 031-00662-700, 031-01250-700, 031-01266-700, 031-01284-000, 031-01973-000, 031-09166-000, 331-01933-000, 331-01972-000, 331-09167-000, S1-03100662000, S1-03101250000, S1-03101266000, S1-03101267000, S1-03101267001, S1-03101284000, S1-03101933000, S1-03101972000, S1-03101973000, S1-03109167000, S1-33102956000, S1-33103010000, | ICM2812-KIT | Furnace/Ignition Control Boards (Universal)
Copeland | 071-0376-01, 071-0376-02, 071-0397-00, 071-0397-01, 071-0424-00, 071-0424-01, 071-9800-01, 071-9800-02 | ICM441 | Line Voltage Monitors
Copeland | 085-0160-00 | ICM450A, ICM450A PLUS+ | Line Voltage Monitors
Diversified | AC-100-3 | ICM206 | Delay On Break Timers
Diversified | AC-100-5 | ICM206 | Delay On Break Timers
Diversified | AC-503 | ICM203 | Delay On Break Timers
Diversified | ASC-200 | ICM150 | Delay On Make Timers
Diversified | AC-800 | ICM102 | Delay On Make Timers
Diversified | AC-2020, AC-301, AC-302 | ICM450A, ICM450A PLUS+ | Line Voltage Monitors
Diversified | CV-100-RS, CV-200-RS15 CV-200-RS20 | ICM491 | Line Voltage Monitors
Dometic Smart Smart | 340582 | ICM870-16A | Soft Start
Dometic Smart Smart | 340583 | ICM870-9A | Soft Start
Eaton | SP1-240S, SP2-240S | ICM518 | Split Phase Surge Protective Device
Eaton | SP1-208Y, SP1-240D, SP2-208Y, SP2-240D | ICM530 | Surge Protective Device
Eaton | SP1-480Y, SP1-480D, SP2-480Y, SP2-480D | ICM531 | Surge Protective Device
Eaton | SP1-600Y, SP1-600D, AP2-600Y | ICM532 | Surge Protective Device
Eaton | SPD050240H1 | ICM533 | Surge Protective Device
ERICO (Critec) | TDX50C240 | ICM518 | Split Phase Surge Protective Device
ERICO (CRITEC) | TDX50C277/480 | ICM531 | Surge Protective Device
ERICO (CRITEC) | TXD50C120/208, TXD50C120/240D | ICM530 | Surge Protective Device
ERICO (CRITEC) | TXD50C347/600 | ICM532 | Surge Protective Device
Essex | 621-1 to 621-10, 621-110, 621-111, 621-310 | ICM300 | Defrost Controls
Essex | Independent Relays Series 84 and 93 | ICM220 | Lockout Protection Relays
EVO/ECM | VCU-36-mp | ICM708 | Ecm Controls
EVO™/ECM | 4Spd | ICM709 | Ecm Controls
EVO™/ECM1 | ACU+–S1 | ICM711 | Ecm Controls
Fenwal | 35-725200-005 | ICM2910-200-005 | Gas Ignition Controls
Fenwal | 35-725201-007 | ICM2910-201-007 | Furnace/Ignition Control Boards
Fenwal | 35-725201-501 | ICM2910-201-501 | Furnace/Ignition Control Boards
Fenwal | 35-725201-505 | ICM2910-201-505 | Furnace/Ignition Control Boards
Fenwal | 35-725205-015 | ICM2910-205-015 | Furnace/Ignition Control Boards
Fenwal | 35-725205-017 | ICM2910-205-017 | Furnace/Ignition Control Boards
Fenwal | 35-725205-021 | ICM2910-205-021 | Furnace/Ignition Control Boards
Fenwal | 35-725205-115 | ICM2910-205-115 | Furnace/Ignition Control Boards
Fenwal | 35-725205-521 | ICM2910-205-521 | Furnace/Ignition Control Boards
Fenwal | 35-725206-515 | ICM2910-206-515 | Furnace/Ignition Control Boards
Fenwal | 35-725405-013 | ICM2910-405-013 | Furnace/Ignition Control Boards
Fenwal | 35-605939-337 | ICM2919 | Furnace/Ignition Control Boards
Gemline | 1C213 | ICM102, ICM103 | Delay On Make Timers
Gemline | 1C310 | ICM102 | Delay On Make Timers
Generac | G0073000 | ICM518 | Split Phase Surge Protective Device
Goodman | B12260-06 | ICM300 | Defrost Controls
Goodman | B1226008 , PCBDM101(s) | ICM318 | Defrost Controls
Goodman | PCBDM133, PCBDM133 | ICM314 | Defrost Controls
Goodman | B1370735S, PCBFM131S | ICM277 | Fan Blower Controls
Goodman | PCBFM103, PCBFM103S | ICM256 | Fan Blower Controls
Goodman | B18099-06, B18099-08, B18099-10, B18099-13, B18099-13S | ICM280 | Furnace/Ignition Control Boards
Goodman | B18099-04 | ICM287 | Furnace/Ignition Control Boards
Goodman | PCBBF110/S, PCBBF123/S, 0130F00005/S, PCBBF112/S, B18099-26/S | ICM2811 | Furnace/Ignition Control Boards
Goodman | PCBBF136, PCBBF140 | ICM2810 | Furnace/Ignition Control Boards
Goodman/Amana | 10207701, 10207704, 10207706, 10207710, 10207714, 10207717, 10207718, 10207719, 10207720, 0130F00005(S), 0130F00006(S), 102077-02, 102077-03, 102077-04, 102077-09, 10207720S, B1809926(S), PCB00109, PCBBF109, PCBBF110(S), PCBBF112(S), PCBBF122(S), PCBBF123(S), PCBBF132(S), PCBBF134, PCBBF135, PCBBF136, PCBBF138 | ICM2812-KIT | Furnace/Ignition Control Boards (Universal)
Goodman | PCBAB123-D | ICM2920 | Furnace/Ignition Control Boards
Heil Quaker | HQ1052757 | ICM300 | Defrost Controls
Hoffman | 880-ECM(10)SSHP | ICM713 | Ecm Controls
Hoffman | 800, 800A, 800AA, 814-50, 816-10 | ICM325HN, 326HN, 327HN | Head Pressure Controls
Honeywell | ST74A1004/20/38 | ICM300 | Defrost Controls
Honeywell | S8910U-1000 | ICM283 | Gas Ignition Controls
Honeywell | R8184G4009, R8184G1138, R8184G1427, R8184G4025 | ICM1503 | Oil Burner Primary Control
Honeywell | R8184G4066, R8184G1161, R8184G1294 | ICM1501 | Oil Burner Primary Control
Honeywell | R8184G4074, R8184G1179, R8184G1302, R8184G4033 | ICM1502 | Oil Burner Primary Control
Honeywell | TH6110D1005, TH6110D1021 | SC5010 | Thermostats (7-Day Programmable)
Honeywell | TH6220D1002, TH6220D1028 | SC5811 | Thermostats (7-Day Programmable)
Honeywell | T8600D2028, TH4110D1007, TH2110D1099 | SC5010 | Thermostats (7-Day Programmable)
Honeywell | T8400, T8401 Series | SC2010L | Thermostats (Non-Programmable)
Honeywell | T8775A1009, TH1100D1001 | SC1600L | Thermostats (Non-Programmable)
Honeywell | TH1110D1000, TH3110D1008 | SC2010L | Thermostats (Non-Programmable)
Honeywell: | S8610U | ICM2918 | Gas Ignition Controls
Ice-O-Matic | TD3001A | ICM103 | Delay On Make Timers
ICM | W1001-4 | ICM318 | Defrost Controls
ICP | 1052757 | ICM300 | Defrost Controls
ICP | 1171803 | ICM321 | Defrost Controls
ICP | 1173425 | ICM321 | Defrost Controls
ICP | 1173636 | ICM350 | Defrost Controls
ICP | 1171166 | ICM291 | Furnace/Ignition Control Boards
ICP | 1176943 | ICM282B | Furnace/Ignition Control Boards
IEC | E025-71521506 | ICM712 | Ecm Controls
Intermatic | AG3000 | ICM517 | Single Phase Surge Protection
Intermatic | AG2401C3, IG1200RC3, IG1240RC3, IG3240RC3 | ICM518 | Split Phase Surge Protective Device
INTERMATIC | AG2403C3, L5F13D1DG1 | ICM533 | Surge Protective Device
INTERMATIC | AG4803C3, L5F13Y2DG1 | ICM531 | Surge Protective Device
INTERMATIC | AG6503, L5F13Y3DG1 | ICM532 | Surge Protective Device
INTERMATIC | AG2083C3 L5F13Y1DG1 | ICM530 | Surge Protective Device
Intermatic/Grasslin | 010-0011B, DT040, DT140, DTAV40, DTAV40M, DT-B, DTMV, DTSX | ICM550, ICM550-ENC | Defrost Controls
Intermatic/Grasslin | 010-0011B, DT040, DT140, DTAV40, DTAV40M, DT-B, DTMV, DTSX | ICM550, ICM550-ENC | Multi–Functional Timers
Intertherm | 6208800 | ICM300 | Defrost Controls
Intertherm | 6208800 | ICM300 | Defrost Controls
Jackson Systems | CL-45, CL-55, CL-75 (cool) | ACH045, ACH055, ACH075 | Thermostats (Temporary)
Jackson Systems | TS-60, TS-65 & TS-70 (heat) | ACH060, ACH065, ACH070 | Thermostats (Temporary)
Johnson Controls | G770RJA-1 | ICM2901 | Gas Ignition Controls
Johnson Controls | P66BAB/BAD | ICM333 (for 2 temp or 2 pres inputs) | Head Pressure Controls
Kickstart | KS1 | ICM866U | Motor Starters/Rapid Start
Kickstart | TO5, KS8 | ICM866U | Motor Starters/Rapid Start
Lennox | 33G9501 | ICM300 | Defrost Controls
Lennox | 33G9501 | ICM300 | Defrost Controls
Lennox | All BCC1, BCC2, BCC3 circuit borads, including 48K98 | ICM289 | Furnace/Ignition Control Boards
Lennox | 10M9301, 12L6901, 32M8801, 56L8401, 24L8501, 63K8901, 97L4801, 100925-01, 100925-03, 17W9201, 23W5101, 30W2501, 69M0801, 69M1501, 83M00 | ICM2813 | Furnace/Ignition Control Boards
Lennox | G776 (63K2401, 41K8701, 69J3601) | ICM2902 | Gas Ignition Controls
Lennox | 1214201, 100925 (-01,-02,-03), 10M93, 10M9301, 12L6901, 17W92, 17W9201, 23W51, 23W5101, 30W25, 30W2501, 32M8801, 56L84, 56L8401, 69M08, 69M0801, 69M15, 69M1501, X4459, X445901, | ICM2812-KIT | Furnace/Ignition Control Boards (Universal)
Leviton | 55240-ASA | ICM518 | Split Phase Surge Protective Device
LEVITON | 55208-ASA | ICM530 | Surge Protective Device
LEVITON | 55480-ASA | ICM531 | Surge Protective Device
Mars | 32395 | ICM175 | Bypass Timers
Mars | 32572 | ICM300 | Defrost Controls
Mars | 32001, 32387, 32392 | ICM203 | Delay On Break Timers
Mars | 32382 | ICM206 | Delay On Break Timers
Mars | 32019, 32391, 32367 | ICM102 | Delay On Make Timers
Mars | 32394, 32396 | ICM103 | Delay On Make Timers
Mars | 32574 | ICM255 | Fan Blower Controls
Mars | 32536 | ICM401, ICM402 | Line Voltage Monitors
Mars | 32532, 32534, 32540, 32541, 32542 | ICM408 | Line Voltage Monitors
Mars | PFM-2000 | ICM450 | Line Voltage Monitors
Mars | 37300, 37302, 37304, 37306, 37322 | ICM441 | Motor Protection
Mars | 32702, 35702 | ICM856 | Motor Starters/Rapid Start
Mars | 32781 | ICM857 | Motor Starters/Rapid Start
Mars | 83905 | ICM518 | Split Phase Surge Protective Device
Mars | 32701, 35701 | ICM855 | Motor Starters/Rapid Start
Mitsubishi: | MU09NW, MUH09NW, MU12NN, MU15NN, MU17NN, MUM18NW, MUM30NN, MUM30NN2 | ICM326HM2 | Head Pressure Controls
Modine | 5H79749 | iCM2911 | Furnace/Ignition Control Boards
Motorsaver | 455 | ICM450A, ICM450A PLUS+ | Line Voltage Monitors
N/A | N/A | ICM6202 | Fan Coil Relay Control Boards
Nordyne | 624631 | ICM2805A | Furnace/Ignition Control Boards
Nordyne | 624557, 624564, 624591, 624628, 902378, 902696, 903106, 624631(A), 624631(A), 710128A, | ICM2812-KIT | Furnace/Ignition Control Boards (Universal)
Paragon | 8041, 8045, 8047, 8141, 8143, 8145, 8245, 8247 | ICM550, ICM550-ENC | Defrost Controls
Paragon | 8041, 8045, 8047, 8141, 8143, 8145, 8245, 8247 | ICM550, ICM550-ENC | Multi–Functional Timers
Precision | 6041, 6045, 6047, 6141, 6145 | ICM550, ICM550-ENC | Defrost Controls
Precision | 6041, 6045, 6047, 6141, 6145 | ICM550, ICM550-ENC | Multi–Functional Timers
Qwik Products | QwikSwapX1 | ICM715 | Ecm Controls
Qwik Products | QwikSwapX3 | ICM716 | Ecm Controls
Ranco | E-15 | ICM315 | Defrost Controls
Ranco | E31 | ICM325/326/327HN | Head Pressure Controls
Reznor | 195265 | ICM2907 | Gas Ignition Controls
Reznor | 257009 | ICM2904 | Gas Ignition Controls
Reznor | 257010 | ICM2905 | Gas Ignition Controls
Reznor | 195573 | ICM2906 | Gas Ignition Controls
Rheem | 62-23599-01, 62-23599-02, 62-23599-03, 62-23599-04, 62-23599-05 | ICM2909 | Furnace/Ignition Boards
Rheem | 47-21776-01 | ICM300 | Defrost Controls
Rheem | 1157-100, 1157-110, 1157-120, 1157-121, 47-102684-01, 47-102684-02, 47-102684-03, 47-102684-04, 47-102684-08, 47-102685-02, 47-102685-04, 47-102685-05, 47-102685-06 47-102685-07, 47-21517-22, DDL-122131-2RH | ICM3000 | Demand Defrost Controls
Rheem | 42-22515-01, 42-22515-02, 42-22515-03 | ICM255 | Fan Blower Controls
Rheem | 1157-100, 1157-110, 1157-120, 1157-121, 47-102684-01, 47-102684-02, 47-102684-03, 47-102684-04, 47-102684-08, 47-102685-02, 47-102685-04, 47-102685-05, 47-102685-06, 47-102685-07, 47-21517-22, DDL-122131-2RH | ICM3000 | Defrost Controls
Rheem | 62-24140-04 | ICM292 | Furnace/Ignition Control Boards
Rheem | 62-24084-82 | ICM288 | Furnace/Ignition Control Boards
Rheem/RUUD | 695-200, 62-22694-xx, 62-22732-xx, 62-24044-xx, 62-24045-01, 62-24046-01, 62-24084-82, 62-24268 (-01,-02,-03) | ICM2812-KIT | Furnace/Ignition Control Boards (Universal)
Robertshaw | 3310-072 | ICM203 | Delay On Break Timers
Robertshaw | 3310-183 | ICM206 | Delay On Break Timers
Robertshaw | 3310-305 | ICM206 | Delay On Break Timers
Robertshaw | 3310-068 | ICM103 | Delay On Make Timers
Robertshaw | 695-100 | ICM271 | Fan Blower Controls
Robertshaw | 695-101 | ICM275 | Fan Blower Controls
Robertshaw | H5780 | ICM283 | Gas Ignition Controls
Robertshaw | 8625-1 | ICM518 | Split Phase Surge Protective Device
Robertshaw | 300-229, 9615 | SC5811 | Thermostats (7-Day Programmable)
Robertshaw | 8625-1 | SC5811 | Thermostats (7-Day Programmable)
Robertshaw | RS5110, RS6110 | SC5010 | Thermostats (7-Day Programmable)
Robertshaw | 300-206 | SC2010L | Thermostats (Non-Programmable)
Robertshaw | 300-204 | SC1600L | Thermostats (Non-Programmable)
Robertshaw | 8400-1, 9400, 9500, RS2110 | SC2010L | Thermostats (Non-Programmable)
Robertshaw | 300-229, 9615 | ICM518 | Split Phase Surge Protective Device
Robertshaw/Uni-Line | TD-10, DT2-1000 | ICM300 | Defrost Controls
SIEMENS | TPS3B | ICM533 | Surge Protective Device
SIEMENS | TPS3D, TPS3C | ICM530 | Surge Protective Device
SIEMENS | TPS3E, TPS3F | ICM531 | Surge Protective Device
SIEMENS | TPS3L, TPS3G | ICM532 | Surge Protective Device
Siemons | TPS3A | ICM518 | Split Phase Surge Protective Device
Snyder General | 1395-329 | ICM300 | Defrost Controls
Snyder General/ICP | 1395336 | ICM255 | Fan Blower Controls
SQUARE D | SDSA2040, SDSA2040D | ICM530 | Surge Protective Device
SQUARE D | SDSA2040D | ICM533 | Surge Protective Device
SQUARE D | SDSA3650, SDSA3650D | ICM532 | Surge Protective Device
SQUARE D | SDSA4040, SDSA4040D | ICM531 | Surge Protective Device
SSAC | QLM, QLV | ICM450A, ICM450A PLUS+ | Line Voltage Monitors
Steveco | 90-621 | ICM300 | Defrost Controls
Suburban | 35-533900-113, 521099 | ICM6700 | Furnace/Ignition Control Boards
Suburban | 35-533900-113, 520814 | ICM6701 | Furnace/Ignition Control Boards
Supco | TD32 | ICM175 | Bypass Timers
Supco | TD72, TD73 | ICM203 | Delay On Break Timers
Supco | TD73W | ICM203F | Delay On Break Timers
Supco | TD74 | ICM206 | Delay On Break Timers
Supco | TL243 | ICM206 | Delay On Break Timers
Supco | TL245 | ICM206 | Delay On Break Timers
Supco | TD69 | ICM102 | Delay On Make Timers
Supco | TD69W | ICM102F | Delay On Make Timers
Supco | TMF-19, TMF-80 | ICM103 | Delay On Make Timers
Supco | TPMP2 | ICM401, ICM402, | Line Voltage Monitors
SupcO | SPP-5 | ICM855 | Motor Starters/Rapid Start
Supco | SPP-5E | ICM866U | Motor Starters/Rapid Start
Supco | SPP-6 | ICM856 | Motor Starters/Rapid Start
Supco | SPP-6E | ICM866U | Motor Starters/Rapid Start
Supco | RCO210 | ICM859 | Motor Starters/Rapid Start
Supco | RCO410 | ICM858 | Motor Starters/Rapid Start
Supco | RCO810 | ICM857 | Motor Starters/Rapid Start
Supco | SCMPlus, SCM150 | ICM517 | Single Phase Surge Protection
Supco | SUPR, APR5 | UMSR50 | Universal Motor Starting Relays
Supco | SPP-8, SPP-8E | ICM866U | Motor Starters/Rapid Start
Texas Instruments | 41F-5 | ICM280 | Furnace/Ignition Control Boards
Texas Instruments | 15AA1600B, 15AA1600C, 15AA1603B, 15AA1603C, 31AA1600E, 31AA1606E | ICM441 | Motor Protection
Texas Instruments | 41F-5, 61F3, 6DT(-1,-2), 350486, 350836 | ICM2812-KIT | Furnace/Ignition Control Boards (Universal)
Therm-O-Disc | 2.6e-09 | ICM300 | Defrost Controls
Time Mark | 265 | ICM450A, ICM450A PLUS+ | Line Voltage Monitors
Trane | D330927P01, D330930P01, D330934P01, D340035P01, D340774P01, D341213P01, D341396P01 | ICM2812-KIT | Furnace/Ignition Control Boards (Universal)
Trane | D674711P01 | ICM2913 | Furnace/Ignition Control Boards
Trane | D674712P01 | ICM2914 | Furnace/Ignition Control Boards
Trane | D674713P01 | ICM2915 | Furnace/Ignition Control Boards
Trane | D674712P02 | ICM2916 | Furnace/Ignition Control Boards
Trane/American Standard | CNT02789, CNT02891, CNT03076, CNT03798, CNT03799, CNT05164, CNT05165, D341122P01, D341235P01, D341235P03, D341396P04, D341396P05, D34139P03 | ICM2812-KIT | Furnace/Ignition Control Boards (Universal)
United TCH | 1003-638A | ICM2904 | Gas Ignition Controls
United TCH | 1003-514 | ICM2905 | Gas Ignition Controls
United TCH | 1097-211 | ICM2906 | Gas Ignition Controls
United TCH | 1097-210 | ICM2907 | Gas Ignition Controls
United Technologies | 1012-83-9336A, 1012-83-9337A, 1012-925 (A,B,C), 1012-933D | ICM2812-KIT | Furnace/Ignition Control Boards (Universal)
UTEC | 1012-933D | ICM280 | Furnace/Ignition Control Boards
Wagner/DiversiTech | ADB-1 | ICM203 | Delay On Break Timers
Wagner/DiversiTech | ADB-2 | ICM203F | Delay On Break Timers
Wagner/DiversiTech | ADM-1 | ICM102 | Delay On Make Timers
Wagner/DiversiTech | ADM-2 | ICM102F | Delay On Make Timers
Wagner/DiversiTech | DSP-1 | ICM491, ICM492 | Line Voltage Monitors
Wagner/DiversiTech | DSP-1 | ICM493 | Line Voltage Monitors
Wagner/DiversiTech | DTP-3, WPC-800 | ICM450A, ICM450A PLUS+ | Line Voltage Monitors
Wagner/DiversiTech | DST-5 | ICM855 | Motor Starters/Rapid Start
Wagner/DiversiTech | DST-6 | ICM856 | Motor Starters/Rapid Start
Weatherking (Addison) | 840-4-5548 | ICM300 | Defrost Controls
Whirlpool | 8068142, 8068561, 8068563, 99958174, 99958175 | ICM2812-KIT | Furnace/Ignition Control Boards (Universal)
White Rodgers | 47D43-101-90, 47D43-111-01, 47D43-111-02, 47D43-111-03, 47D43-111-04, 47D43-811 | ICM3000 | Defrost Controls
White Rodgers | 47D43-101-90, 47D43-111-01, 47D43-111-02, 47D43-111-03, 47D43-111-04, 47D43-811 | ICM3000 | Demand Defrost Controls
White Rodgers | 50E47, 50F47 | ICM283 | Gas Ignition Controls
White-Rodgers | 50A55-743, 50A55-289, 50T55-289 | ICM2811 | Furnace/Ignition Control Boards
White-Rodgers | 50A65-120, 50A65-121, 50A62-120, 50A62-121, 50A62-820, 21D83M-843, 50A66-122, 50A66-123 | ICM2813 | Furnace/Ignition Control Boards
White-Rodgers | 50M56U-843 | ICM2812, ICM2812-KIT | Furnace/Ignition Control Boards
White-Rodgers | 50T35-730, 50T35-743 | ICM280 | Furnace/Ignition Control Boards
White-Rodgers | 668-401 | ICM1503 | Oil Burner Primary Control
White-Rodgers | 1F80-0471, 1F80-0671, 1F97-1277 | SC5010 | Thermostats (7-Day Programmable)
White-Rodgers | 1F81-261, 1F85-0422 | SC5811 | Thermostats (7-Day Programmable)
White-Rodgers | 1F86-344, 1F86-0244 | SC2010L | Thermostats (Non-Programmable)
White-Rodgers | Mechanical 1F30-321, 1C20-102 | SC1600L | Thermostats (Non-Programmable)
White-Rodgers | 50A50-110, 50A50-111, 50A50-112, 50A50-113, 50A50-130, 50A50-131, 50A50-142, 50A50-143, 50A50-205, 50A50-206, 50A50-207, 50A50-208, 50A50-209, 50A50-210, 50A50-215, 50A50-216, 50A50-229, 50A50-230, 50A50-240, 50A50-241, 50A50-245, 50A50-285, 50A50-286, 50A50-288, Part Number, 50A50-295, 50A50-296, 50A50-298, 50A50-405, 50A50-406, 50A50-407, 50A50-408, 50A50-438, 50A50-471, 50A50-472, 50A50-473, 50A50-474, 50A50-475, 50A50-571, 50A55-143, 50A55-241, 50A55-245, 50A55-250, 50A55-285, 50A55-286, 50A55-288, 50A55-289, 50A55-3797, 50A55-438, 50A55-474, 50A55-476, 50A55-480, 50A55-486, 50A55-571, 50A55-743, 50A55-843, 50A56-242, 50A56-243, 50A56-956, 50A65-120, 50A65-121, 50A65-143, 50A65-288, 50A65-289, 50A65-474, 50A65-475, 50A65-476, 50A65-5165, 50A65-843, 50A66-122, 50A66-123, 50A66-743, 50M56-281, 50M56-289, 50M56-291, 50M56-743, 50T35-730, 50T35-743, 50T55-288, 50T55-289 | ICM2812-KIT | Furnace/Ignition Control Boards (Universal)
White-Rodgers | 90-621 | ICM300 | Defrost Controls
York | S1-331-03010000, S1-331-02956000 | ICM2808 | Furnace/Ignition Control Boards
York | 7990-319P | ICM2801 | Furnace/Ignition Control Boards
Fenwal | 05-203025-005, 05-203026-005 | ICM2918 | Ignition Control Module (Universal)
Honeywell | S8610U, S86A1001, S86A1019, S86A1027, S86A1035, S86B1009, S86B1017, S86B1025, S86C1007, S86C1015, S86C1031, S86C1049, S86C1056, S86D1005, S86D1021, S86E1002, S86E1010, S86E1028, S86E1036, S86E1044, S86E1051, S86E1069, S86E1077, S86E1101, S86E1119, S86E1127, S86F1000, S86F1018, S86F1026, S86F1042, S86F1059, S86F1067, S86F1075, S86F1083, S86F1091, S86G1008, S86G1016, S86G1032, S86G1057, S86G1073, S86H1006, S86H1022, S86H1048, S86H1089, S86H1097, S86H1105, S86H1121, S86H1147, S90A1005, S90B1003, S90B1011, S8600A1001, S8600B1009, S8600C1015, S8600F1000, S8600F1034, S8600F1042, S8600H1006, S8600H1022, S8600H1048, S8600H1055, S8600H1089, S8600H1105, S8600M1005, S8600M1013, S8610A1009, S8610B1007, S8610B1015, S8610C1005, S8610F1008, S8610F1016, S8610F1024, S8610F1032, S8610H1012, S8610H1038, S8610H1046, S8610H1053, S8610H1079, S8610M1003, S8610M1029, S8620H1028 | ICM2918 | Ignition Control Module (Universal)
Camstat | IPI-24-00 | ICM2918 | Ignition Control Module (Universal)
HSC | 1003-3, 1003-300 | ICM2918 | Ignition Control Module (Universal)
Penn-Johnson | CSA35A-617R, CSA35A-618R, CSA42A-600R, CSA42A-601R, CSA42A-603R, CSA42A-604R, CSA43A-600R, CSA44A-600R, CSA45A-601R, CSA45A-602R, CSA46A-600R, CSA48A-600R, CSA49A-600R, CSA49A-605R, CSA51A-601R, CSA52A-600R, G60AAA-1, G60AAG-1, G60AAG-3, G60AAG-4, G60AAG-5, G60AAG-6, G60CAA-1, G60CAA-3, G60CAG-1, G60CAG-2, G60CAG-3, G60CAG-4, G60CAG-5, G60CAG-6, G60CAG-7, G60CAG-8, G60CAG-9, G60CBA-1, G60CBA-3, G60CBG-1, G60CBG-10, G60CBG-11, G60CBG-14, G60CBG-16, G60CBG-17, G60CBG-3, G60CBG-4, G60CBG-9, G60CCA-1, G60CCG-1, G60CPG-1, G60DBG-1, G60DCG-1, G60DCG-2, G60PAG-1, G60PAG-2, G60PAG-3, G60PAG-4, G60PAG-5, G60PAG-6, G60PAJ-1, G60PAK-1, G60PAK-2, G60PFH-1, G60PFH-2, G60PFL-1, G60PFQ-1, G60PVL-1, G60QAG-2, G60QAG-3, G60QAK-1, G60QBG-1, G60QBG-2, G60QBG-3, G60QBG-4, G60QBG-5, G60QBG-6, G60QBG-7, G60QBG-8, G60QBG-9, G60QBH-1, G60QBK-1, G60QBK-3, G60QBL-1, G60QBL-2, G60QCG-1, G60QCJ-1, G60QCL-1, G60QDG-1, G60QFL-1, G60QHL-1, G60QJL-1, G60QLG-1, G60QPL-1, G60QRH-1, G60QRL-1, G60QRL-2, G60QRL-3, G60QSL-1, G60QTH-1, G60QTL-1, G60RAG-1, G60RAK-1, G60RBG-1, G60RBG-2, G60RBG-3, G60RBK-1, G60RBK-2, G60RCG-2, G60RCJ-1, G60RDG-1, G60RDK-1, G60RGL-1, G60RHL-1, G60RHP-1, G60RPL-1, G60RSL-1, G60ZAG-1, G65BBG-1, G65BBG-2, G65BBG-3, G65BBG-4, G65BBG-5, G65BBG-6, G65BBG-7, G65BBG-8, G65BBM-1, G65BBM-2, G65BBM-3, G65BBM-4, G65BCG-1, G65BCM-1, G65BFG-1, G65BFM, G65BKG-1, G65BKG-2, G65BKG-3, G65BKM-1, G65BKM-2, G65BKM-3, G65DBG, G65DBM-1, G65DBM-3, G65DCM-1, G65DFG, G65DFM-1, G65DKG, G65DKM, G65FBG, G65FFG, G65FKG, G66AG-1, G66BG-1, G66MG-1, G66NG-1, G67AG-3, G67AG-4, G67AG-7, G67AG-8, G67BG-2, G67BG-3, G67BG-4, G67BG-5, G67MG-1, G67MG-4, G67NG-2, G600AX-1, G600AY-1, G600MX-1, G600NX-1, G600RX-1, G670AW-1, G770MGA-1, G770MGA-2, G770MGC-1, G770MGC-2, G770MGC-3, G770MHA-1, G770NGA-1, G770NGC-4, G770NGC-5, G770NGC-6, G770NGC-7, G770RGA-1, G770RHA-1, G770MHA-2, G770MHC-1, G770NHA-1, G770NHC-1, G770RHA-2 | ICM2918 | Ignition Control Module (Universal)
Robertshaw | 780-715, 780-735, 780-737, SP715, SP715A, SP735, SP735D, SP735L, USI 715U | ICM2918 | Ignition Control Module (Universal)